## Network AnalyzerTestcase
Feature Test Title | Step | Actual Result | Additional Comments | Date (dd/mm/yy) | Status
Low Pass Filter Test | [5 empty] | Total Passed | 1
Fc= 340 Hz | 1.1 | Ex. The Actual Results Correspond to the Expected Results |  | 4/302021 | Passed | Total Failed | 1
Reference: CH1 | 1.2 |  |  |  | New | Total Tests done | 2
Cursor | 1.3 | Ex. The interface doesn’t show the value set. |  | 2021-04-30 | Failed | Not yet tested | 81
| 1.4 |  |  |  | New
| 1.5 |  |  |  | New |  |  | New
| 1.6 |  |  |  | New |  |  | Passed
| 1.7 |  |  |  | New
| 1.8 |  |  |  | New
| 1.9 |  |  |  | New
Reference: CH2 | 1.10 |  |  |  | New
Fc= 15.9 kHz | 2.1 |  |  |  | New |  |  | Failed
Reference: CH1 | 2.2 |  |  |  | New
| 2.3 |  |  |  | New
| 2.4 |  |  |  | New
| 2.5 |  |  |  | New
Reference: CH2 | 2.6 |  |  |  | New
Fc= 1.59 MHz | 3.1 |  |  |  | New
Reference: CH1 | 3.2 |  |  |  | New
| 3.3 |  |  |  | New
| 3.4 |  |  |  | New
| 3.5 |  |  |  | New
Reference: CH2 | 3.6 |  |  |  | New
High Pass Filter Test
Fc= 340 Hz | 1.1 |  |  |  | New
Reference: CH1 | 1.2 |  |  |  | New
| 1.3 |  |  |  | New
| 1.4 |  |  |  | New
| 1.5 |  |  |  | New
Reference: CH2 | 1.6 |  |  |  | New
Fc= 15.9 kHz | 2.1 |  |  |  | New
Reference: CH1 | 2.2 |  |  |  | New
| 2.3 |  |  |  | New
| 2.4 |  |  |  | New
| 2.5 |  |  |  | New
Reference: CH2 | 2.6 |  |  |  | New
Fc= 1.6 MHz | 3.1 |  |  |  | New
Reference: CH1 | 3.2 |  |  |  | New
| 3.3 |  |  |  | New
| 3.4 |  |  |  | New
| 3.5 |  |  |  | New
Reference: CH2 | 3.6 |  |  |  | New
Band Pass Filter Test
Fcl= 1.59 kHz, Fch=15.9 kHz | 1.1 |  |  |  | New
Reference: CH1 | 1.2 |  |  |  | New
| 1.3 |  |  |  | New
| 1.4 |  |  |  | New
| 1.5 |  |  |  | New
Reference: CH2 | 1.6 |  |  |  | New
Fcl= 3.4 kHz, Fch=723 kHz | 2.1 |  |  |  | New
Reference: CH1 | 2.2 |  |  |  | New
| 2.3 |  |  |  | New
| 2.4 |  |  |  | New
| 2.5 |  |  |  | New
Reference: CH2 | 2.6 |  |  |  | New
Band Stop Filter Test
Fn = 795 Hz | 1.1 |  |  |  | New
Reference: CH1 | 1.2 |  |  |  | New
| 1.3 |  |  |  | New
| 1.4 |  |  |  | New
Reference:CH2 | 1.5 |  |  |  | New
Fn= 79.5 kHz | 2.1 |  |  |  | New
Referece: CH1 | 2.2 |  |  |  | New
| 2.3 |  |  |  | New
| 2.4 |  |  |  | New
Reference:CH2 | 2.5 |  |  |  | New
Band Stop Filter Test
Print Plot | 1.1 |  |  |  | New
Buffer Previewer | 2.1 |  |  |  | New
| 2.2 |  |  |  | New
| 2.3 |  |  |  | New
| 2.4 |  |  |  | New
Gain Mode | 3.1 |  |  |  | New
| 3.2 |  |  |  | New
| 3.3 |  |  |  | New
| 3.4 |  |  |  | New
DC Filtering, Off | 4.1 |  |  |  | New
| 4.2 |  |  |  | New
DC Filtering, On | 4.3 |  |  |  | New
| 4.4 |  |  |  | New
Reference: Export/Import | 5.1 |  |  |  | New
| 5.2 |  |  |  | New
| 5.3 |  |  |  | New
| 5.4 |  |  |  | New
| 5.5 |  |  |  | New
Reference: Snapshot | 6.1 |  |  |  | New
| 6.2 |  |  |  | New
| 6.3 |  |  |  | New
Link to test case:
https://wiki.analog.com/university/tools/m2k/scopy/test-cases/network-analyzer